SECTION 08460

## STANLEY BYPASS DOOR SYSTEM – STANDARD AND IMPACT OPTION

AUTOMATIC SLIDING DOOR SYSTEMS

# I. PART ONE GENERAL

1.01 SUMMARY:

A. Work included: furnishing and installing factory fabricated and finished automatic sliding door system(s).

B. Related Work: [Insert applicable sections including:]

1. Section 07900 - Caulking

2. Section 08400 - Entrances and Storefronts

3. Section 08710 - Finish Hardware

4. Section 08800 - Glazing

5. Section 12670 - Entrance Mats

6. Section 16120 - Electrical Supply and Termination

1.02 REFERENCES:

A. Underwriters Laboratories (UL), 333 Pfingsten Road, Northbrook, IL 60062, 847-272-8800, Fax: 847-272-8129.

B. American National Standards Institute (ANSI), 11 W. 42nd St., 13th Floor, New York, NY 10036, 212-642-4900, Fax: 212-398-0023.

C. Builders’ Hardware Manufacturers Association (BHMA), 355 Lexington Ave., New York, NY 10017, 212-661-4261, Fax: 212-370-9047.

D. National Fire Protection Association (NFPA), 1 Batterymarch Park, Quincy, MA 02269, 800-344-3555, 617-770-3000, Fax: 617-984-7057.

E. Canadian Standards Association (CSA), 178 Rexdale Blvd., Rexdale, ON, Canada M9W 1R3, 416-747-4000, Fax: 416-747-4149.

F. Boca Evaluation Services, 4051 West Flossmoor Road, Country Club Hills, IL 60478, 708-799-2305, Fax: 708-799-0310.

G. ICBO Evaluation Services, 5360 Workman Mill Road, Whittier, CA 90601, 562-699-0543, Fax: 562-695-4694.

H. International Standards Organization (ISO).

1.03 SUBMITTALS:

A. Product Data:  Provide manufacturer’s product and complete installation data for all materials in this specification.

B. Shop drawings:  Show profiles, joining method, location of components, anchorage details, adjacent construction interface, and dimensions as well as all necessary wiring and electrical requirements.

C. Samples:  Sized to adequately represent material.

D. Contract Closeout:  Submit the Manufacturer’s warranty and performance certifications [if applicable].

E. Installation Guide:  Provide a written installation guide and/or installation recommendations.

1.04 QUALITY ASSURANCE:

A. Automatic sliding door system shall be CERTIFIED by the manufacturer to meet performance design criteria according to the following test standards:  [select, if applicable]:

1. ANSI A156.10.

2. NFPA 101, Life Safety Code, section 5-2.1.9.

3. Underwriter’s Laboratories (UL) listed to UL325.

4. C-UL Certified (equivalent to CSA certified) to CSA 22-2 No. 247.

5. ICBO (UBC Standard 10-1).

6. BOCA (BOCA Code Section 1017.4.3).

7. South Florida Building Code

8. Dade County Code Compliance Protocols:  PA 201-95, PA202-95, PA203-95

9. American Society of Civil Engineers 7-98

10. ASTM test methods:  E330-96, E283-91, E331-96, F842-97

B. Automatic Sliding Door System:  Shall be manufactured in an ISO 9001 registered manufacturing facility.

1.05 PRODUCT HANDLING:

A. All materials shall arrive in the manufacturer’s original sealed, labeled containers.

B. Store material in a dry, protected, well-vented area.  Report damaged material immediately to the delivering carrier and note such damage on the carrier’s freight bill of lading.

C. Remove all protective materials after installation.

1.06 SUBSTITUTIONS:

A. Proposals for substitution products will be accepted only from bidding contractors a minimum of 10 working days before the bid due date. The proposed substitution shall meet the performance and quality standards of this specification.

1.07 JOB CONDITIONS:

A. Verify that other trades are complete before installing the automatic sliding door system.

B. Mounting surfaces shall be plumb, straight and secure; substrates shall be of proper dimension and material.

C. Refer to the construction documents, shop drawings and manufacturer’s installation instructions.

D. Coordinate installation with the glass, glazing and electrical work.

E. Observe all appropriate OSHA safety guidelines for this work.

1.08 WARRANTY/GUARANTEE:

A. Manufacturer’s Standard Warranty:  Warranted materials shall be free of defects in material and workmanship for one year after installation.

# II. PART TWO PRODUCTS

2.01 MANUFACTURER:

A. Stanley Access Technologies

65 Scott Swamp Road

Farmington, CT 06032

1-800-722-2377 (7-ACCESS)

Local: 860-677-2861

Fax: 1-860-679-6436

Internet address - http://www.stanleyworks.com

For local rep, contact: Sweet’s Buyline 1-800-892-1165 (#0202)

2.02 AUTOMATIC SLIDING DOOR SYSTEMS:

A. Automatic Sliding Door System: Shall be Stanley Bypass Door System [select if applicable ] with Impact Option.  Each system shall consist of two sliding aluminum doors, fixed center panel, jambs, headers, operators, threshold tracks and actuating controls.  The system shall be completely engineered, manufactured and assembled by Stanley Access Technologies. For Impact Option, the system shall withstand a uniform design pressure as required by the South Florida Building Code.

B. Sliding Aluminum Door Package:  [Select B.1 Standard or B.2 Impact Option below]

B.1	Standard.  Provide [select one: standard narrow stile or medium stile] door panels. All doors shall have intermediate rails. Bottom rails to be [select 4”, 6”, 8”, 10”, 12”, 15”, 18”].  Dimension heights and widths as shown on construction documents.  Package width can range from 9’8” to 18’ 4-1/2” wide.  Typical package height is 7’8” typical without optional transom.

B.2	Impact Option.  Provide medium stile, 3 1/2” wide and .125” thick, door panels with 10” wide bottom rails to dimension heights and widths as shown on construction documents.  Minimum package sizes are 10’2” wide by 7’8” high.  Maximum package sizes are 14’0” wide by 7’8” high.

C. Sliding Aluminum Doors:  Provide wind resistant gas dampers, for resistance to high wind when sliding panels are swung out into the direction of egress. In addition [select C.1 Standard or C.2 Impact Option]:

C.1	Standard.  All door panels shall have security glass stops. [Please specify as applies: Glass stops 1/4”, 5/8” and 1” shall be available for all door panels and transom.] The active sliding door panels shall include a single-point lock securing the lead edges of the sliding door stiles to the jamb. The active sliding door panels shall be provided with a key cylinder on the exterior and a thumb turn on the interior in accordance with NFPA 101.

C.2	Impact Option.  All door panels shall have security glass stops for use with 9/16" impact resistant glass. All doors shall have a minimum of one 4 ¼” intermediate rail and a maximum of two intermediate rails per panel. Each active sliding door panel within the door system shall include a two-point lock to secure the lead edge of the sliding door stile to the jamb and to the door hanger assembly. Each active sliding door panel shall be provided with one lower flush bolt in accordance with the South Florida Building Code. The active sliding door shall be provided with a key cylinder on the exterior and a thumb turn on the interior in accordance with NFPA 101. Lock indicators shall be provided for each two-point locking mechanism and flush bolt mechanism. A stile interlock shall be provided to secure the active sliding panel stile to the adjacent fixed panel stile when in the closed and locked-down position. The interlock shall be activated by a hex key or other standard tool. All door corners (intersection of stiles and rails or stiles and muntin bars) will be welded.

D. Door Operation: Shall be [select D.1 Standard, or D.2 Fly Open Box Option, depending upon local code authority requirements]:

D.1	Standard.  In compliance with NFPA 101, exterior sliding panel shall allow “breakout” to the full open position to provide instant egress at any point in the door’s movement. The interior sliding door panel shall “breakout” in the direction of egress only at the full closed position.  This must be reviewed against local code requirements and required egress opening needs for the occupancy.

D.2	Fly Open Box Option:  In compliance with NFPA 101, exterior sliding panel shall allow “breakout” to the full open position to provide instant egress at any point in the door’s movement. The interior sliding door panel shall “breakout” in the direction of egress only at the full closed position.  In the event of a power failure or fire alarm if so desired, interior door will slide open and stay open via means of battery backup Fly Open Box. To allow safe egress, automatic operation shall be discontinued when any panels are in the “breakout” mode.

Door(s) shall be sized to prevent pinch points at overlapping stiles.

E. Aluminum Frame and Extrusions: Shall be a minimum 0.125” wall thickness in integral structural sections. The frame shall be [select one: standard 4 ½” deep section or 6” deep section]. [Specify, if desired and not for Impact Option packages: Provide additional vertical tubes].

F. Aluminum Extrusion Finish: Standard anodized finish shall be [select one: AA-M12-C22-A31 Clear, AA-M12-C22-A44 Dark Bronze, Special Finish].

G. Stationary Center (“O”) Panel: Provide O-panel to dimension heights and widths as shown on construction documents.  All O-panels for Impact Option shall have [select: one or two 4 ¼” intermediate rails] and shall be steel-reinforced with a solid steel bar in each stile.

H. Header Case: Two provided.  Shall be 6” wide by 8” high (152 mm wide by 203 mm high) extruded aluminum and capable of supporting of 220 pounds per leaf over a span of 18’4-1/2” with minimal deflection. It shall contain door operator and door mounting components. The header cover shall have a continuous self-locking hinge to open flush with the top of the header.

I. Door Hanger Wheels: Shall be 2 ½” (64 mm) diameter urethane wheels with precision steel lifetime lubricated ball bearing centers. The sliding door(s) shall be held on the track by 2” (51 mm) diameter anti-riser wheels and supported by a factory adjusted cantilever support and pivot assembly. This assembly shall allow the sliding doors to swing outward for emergency egress. The door height shall have an adjustment of ±1/8” as required by field conditions.

J. Threshold/Track: Two provided.  Shall be recessed & continuous from jamb to jamb, 9” wide (2- 4 ½”). The threshold/track shall not be more than 1/2” in height.  Raised thresholds more than 1/4” shall be beveled with slope not steeper than 1 in 2. (per NFPA 101 - 5-2.1.3).

K. Door Operator and Controller: Shall be the Stanley Dura-Glide System driven by one electro-mechanical operator and a regulated electronic controller. The operator components shall consist of a DC permanent magnet 1/8 horsepower motor, gear reduction drive, Stanley Pozi-Trac position encoder, and a microprocessor control box. An electronic counter shall be installed in the header to count the number of open cycles. Customer to provide 120 VAC, 5 amps minimum to electrical door operator.

L. Microprocessor Control Box: Torque shall be factory set as prescribed by ANSI A156.10. The control box and Stanley Pozi-Trac position encoder shall automatically set the opening and closing check positions, and the full-open and full-closed position of the door system.

M. Threshold Sensor:  Shall be field installed Stanley Stanguard infrared threshold presence sensor. It shall be a self-contained, fully adjustable sensor system that works in conjunction with Stanley SU-100 motion sensors. Simultaneously with the door-opening signal, the sensor shall be energized. It shall emit a 30” deep by 72” maximum wide elliptical shaped infrared presence zone centered on the doorway threshold line. The door shall close after the SU-100 sensor and Stanley infrared threshold presence sensor detect a clear surveillance field.

N. Doorway holding beams:  Shall be factory installed at a height of 13” per ANSI code A156.10.

O. Motion Sensor:  Shall be the Stanley SU-100 Motion Sensor. The unit shall be switchable between bi- directional and uni-directional K-band frequency to detect all motion, fast or slow, in both directions with a relay hold time of 1.5 - 30 seconds. The Stanley SU-100 shall be mounted to the header, 10’-0” maximum above the finish floor. Using the adjustable antenna the detection pattern shall be semi-circular, approximately 7’-0” wide by 5’-0” deep for a wide zone and approximately 6’-0” wide by 8’-0” deep for a narrow zone. The location of the detection zone shall be adjustable from the face of the door (20 degrees to 35 degrees in increments of 3 degrees). The unit shall operate between -30 degrees through 130 degrees Fahrenheit in all environmental conditions. The supply voltage shall be 12-24 V AC/DC +/- 10% and the power consumption shall be 6 W maximum.

P. Safety Search Circuitry:  Shall be provided which will recycle the doors when an object is encountered during the closing cycle. The circuitry shall search for that object on the next closing cycle by reducing the door speed at the position the object was previously encountered, and will continue to close in check speed until the doors are fully closed, at which time the doors will reset to normal speed. If the obstruction is encountered again, the doors shall come to a full stop. The door shall remain stopped until the obstruction is removed and an operate signal is given, resetting the door to its normal speed.

Q. Weatherstripping: Standard units shall have one and Impact Option shall have two adjustable nylon sweeps on the bottom of the sliding doors. Double pile weatherstripping shall be provided for the sliding door lead edges. Single pile weatherstripping shall be provided between the carrier and the header on the lead stiles of the O-Panel/P-Tube and the pivot stile(s) of the sliding door(s).

R. Accessories: The Bypass Door automatic sliding door system shall be supplied with a field-installed rotary switch to allow door(s) to open at full or reduced width according to weather and traffic conditions.

S. Glass: The Bypass Door System with Impact Option shall use SAF-GLASS 9/16” laminated glass by Security Impact. (561) 844-3100. The glass must be glazed with Dow #995.

2.03 OPERATING CONDITIONS:

A. Climatic Conditions: All automatic sliding door system components shall operate between -30 degrees and +130 degrees Fahrenheit, 95% relative humidity.

B. Performance Requirements: The header shall be capable of supporting bi-parting doors of 220 lbs per leaf over a span of 18’4-1/2” with a deflection not more than ¼". For Impact Option, the maximum allowable air infiltration rate is 1.2 cfm/ft2 in accordance with ASTM test methods.

# III. PART THREE EXECUTION

3.01 INSPECTION:

A. Verify that the automatic sliding door system installation will not disrupt other trades. The door installer shall verify that the installation area is dry, clean and free of foreign matter. Check as-built conditions and verify the manufacturer’s automatic sliding entrance system details for accuracy to fit the wall assembly prior to fabrication. Report in writing to the Contractor any detrimental conditions to the proper functioning of the automatic sliding door system. Installation shall proceed once the unsatisfactory conditions have been corrected in accordance to the manufacturer’s recommendations.

3.02 INSTALLATION OF AUTOMATIC SLIDING ENTRANCE SYSTEMS:

A. Installation shall be by an installer approved and trained by the manufacturer in strict accordance with the manufacturer’s instructions and fire marshal listing requirements.

B. Comply with the automatic sliding door system manufacturer’s recommendations and/or installation guide when installing the automatic sliding door system. Set all units plumb, level and true.

C. Provide all fasteners required for installation of the automatic sliding door system.

D. Adjustment and Cleaning: After repeated operation of the completed installation, re-adjust door operators and controls for optimum operating condition and safety. Clean all metal surfaces promptly after installation.

E. Explain and review the Daily Safety Check Procedure.

END OF SECTION 08460